Date: 17TH MAY, 2023.

Attn:

Mr. Steffan Ramesar,

SERVUS Limited,

Trinidad & Tobago

Preliminary Report - To supply and install Solar PV Power – Shell Building. P.O.S

Introduction:

  - In May 2023, RESSCOTT LTD was engaged by the client, to assess their facilities and determine the most ideal, cost effective and reliable commercial solar PV energy solution for the following facility:

  - Shell’s Building, P.O.S

  - The purpose was to assess the facility (existing electrical loads, electrical facilities and structures) to incorporate Solar PV Energy Solutions. The objective is to reduce their energy consumption through the implementation of an appropriate custom-designed engineered solar system best suited for the intended electrical load. Subsequently, reducing their carbon footprint.

  - The client Identified some specific loads

  - Based on the findings this preliminary report highlights the details of the proposed design and the benefits to the client.

  - Table #1 below summarizes RESSCOTT LTD’s proposal summary for the commercial building. Table #2 includes the government TAX incentive at 150% of the total for claim. See attached Income Tax Law,

  - Table #1 below summarizes RESSCOTT LTD’s proposal summary for the client:

| Proposal Summary |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Project Number | Description | Monthly Carbon Reduction (Kg Co2) | Quotation Number | Commercial Design Report and shading Number | Cost (TTD) – Clients load specified | Justification |
| RES0722-49 – 30kW (without battery bank) | Engineered Solar PV System to power facility loads during daylight and draw on utility power during the night / extended inclement weather. This will offset some off T&TEC power with solar power. | TBD | TBD | TBD | Average Cost of solar only $224,000.00 Cost of solar project Unknown – see section 2 | Allows for cost effectiveness and efficiency and smooth transition of power between utility and solar PV. This will supply power for AC Units and allow for saving money. This system is applied for Day-time Operation only and can utilize battery banks for back-up power at a later date. |

Table #1: Summary of the Solar PV System operation and cost.

- Conclusion and Recommendations:

  - Based on the preliminary assessment done during the site visit, using the specified loads by the client – A 30kW Solar PV system was determined. This PV system does not include batteries and can be used to supplement the existing utility power – Expected cost – $224,000 TTD. However, the specified lighting loads identified during the site visit may add some complication during the re-wiring works. To be addressed from a more detailed assessment from an engineering standpoint.

  - RESSCOTT Limited recommends to conduct an inspection and load assessment for Solar PV Installation - Shell Building P.O.S. The system can be installed with consideration for Civil, wiring and construction works.

  - The assessment and consultation for this installation is averaged at 12,500 TTD plus VAT.

  - The assessment will determine the feasibility of the installation based on the client load requirements. It will also include other feasible recommendations to make the project a viable installation.

Regards,

SHAMIR KHAN

OPERATIONS DIRECTOR

BSC. MECHANICAL ENGINEERING (UWI)

QA/QC INSPECTOR

CERTIFIED - CWI INSPECTOR, NACE, ASNT LEVEL II, API 510 INSPECTOR

METALLOGRAHIC INTERPRETATION (ASM INTERNATIONAL)

FAILURE ANALYSIS CONSULTANT